## Summary
Home NOC Lab - Incident Summary
Four exercises on a virtual monitoring lab (Zabbix, Docker). Home lab practice, not production. Alert counts and times are calculated from the Alert Log tab.
Incident | Exercise | Date | First alert | Highest severity | Alerts fired | Total time in alert (min:sec) | Type | Outcome | Key lesson
INC-001 | 1: Service down | 2026-10-26 | 46321.5743 | High | 1 | 0:02 | Real outage (induced) | Alert fired and cleared as expected; monitoring confirmed working. | A healthy baseline (both checks at 1) makes an incident easy to recognize.
INC-002 | 2: Monitoring agent unavailable | 2026-10-26 | 46321.5892 | Average | 1 | 0:04 | Monitoring gap | Agent restarted; alert cleared. No monitored service was down. | Tell a real outage from a monitoring gap; monitoring can lose sight of a healthy system.
INC-003 | 3: Flapping service and trigger tuning | 2026-10-26 | 46321.6197 | High | 7 | 0:11 | Alert noise | Three alerts in about 7 minutes cut to zero for 30-second blips, with real outages still caught. | A trigger has several conditions, and tuning one does not tune the others. Test the result.
INC-004 | 4: Two problems at once | 2026-10-26 | 46321.6542 | High | 2 | 0:17 | Real outage + monitoring gap | web-target (High) worked first, agent (Average) second; both resolved. | Alerts have different detection delays, so a quiet screen is not proof that all is healthy.
Total |  |  |  |  | 11 | 0:33
Tabs in this workbook
Summary: this page. Alert Log: every alert with start, recovery and calculated durations.
Incident Records: the full write-up for each incident. Tuning History: the three versions of the web-target trigger.
Shift Handoff: example handoff note.

## Alert Log
Alert Log - every alert from Exercises 1 to 4
Home NOC Lab (Zabbix 7.0), all on 10/26/2026. Times come from Monitoring > Problems or from the user's own notes. Blue text = recorded input; black = formula.
Incident | Phase / trigger version | Problem | Host | Severity | Started | Recovered | Duration (min:sec) | Containers stopped at | Detection delay after stop (min:sec) | Time precision | Notes
INC-001 | Original trigger | web-target: HTTP service down | web-target | High | 46321.5743 | 46321.5757 | 0:02 |  |  | Minute | First alert cycle. web-target stopped, then restarted with docker compose start.
INC-002 | Built-in agent alert | Linux: Zabbix agent is not available (for 3m) | Zabbix server | Average | 46321.5892 | 46321.5917 | 0:04 |  |  | Start to the second; recovery to the minute | Monitoring gap, not a service outage. Alert has a built-in 3-minute delay.
INC-003 | Original trigger (1m no-data) | web-target: HTTP service down | web-target | High | 46321.6197 | 46321.6209 | 0:02 |  |  | Second | Flapping test, alert 1 of 3.
INC-003 | Original trigger (1m no-data) | web-target: HTTP service down | web-target | High | 46321.6216 | 46321.6229 | 0:02 |  |  | Second | Flapping test, alert 2 of 3. Fired 63 s after alert 1 cleared.
INC-003 | Original trigger (1m no-data) | web-target: HTTP service down | web-target | High | 46321.6233 | 46321.6245 | 0:02 |  |  | Second | Flapping test, alert 3 of 3. Fired 35 s after alert 2 cleared.
INC-003 | Tuning pass 1 (3m no-data) | web-target: HTTP service down | web-target | High | 46321.6358 | 46321.6384 | 0:04 |  |  | Second | About 3-minute stop; alert fired about 3 minutes after the stop (no-data window worked).
INC-003 | Tuning pass 1 (3m no-data) | web-target: HTTP service down | web-target | High | 46321.6388 | 46321.6391 | 0:00 |  |  | Second | About 30-second stop still alerted: the last()=0 condition fired on one failed check.
INC-003 | Tuning pass 1 (3m no-data) | web-target: HTTP service down | web-target | High | 46321.6395 | 46321.6398 | 0:00 |  |  | Second | Second 30-second stop also alerted, same cause.
INC-003 | Tuning pass 2 (4 failed checks) | web-target: HTTP service down | web-target | High | 46321.6479 | 46321.6486 | 0:01 |  |  | Minute | 2-minute stop; alert fired at 3:33 PM and cleared when restarted at about 3:34 PM. The two 30-second stops before it produced no alerts.
INC-004 | Tuning pass 2 (4 failed checks) | web-target: HTTP service down | web-target | High | 46321.6542 | 46321.6603 | 0:09 | 46321.6535 | 0:01 | Second | Real outage. Restored first.
INC-004 | Built-in agent alert | Linux: Zabbix agent is not available (for 3m) | Zabbix server | Average | 46321.6559 | 46321.6614 | 0:08 | 46321.6535 | 0:03 | Second | Monitoring gap. Restored second.
Notes
Detection delay is only calculated where the stop time was recorded (INC-004). For the others, the exact stop time was not noted.
Where precision is 'Minute', the user recorded the time to the minute only, so durations for those rows are approximate.

## Incident Records
Incident Records
Items in [brackets] are for you to complete with what you actually did and saw.
Field | INC-001 | INC-002 | INC-003 | INC-004
Exercise | 1: Service down | 2: Monitoring agent unavailable | 3: Flapping service and trigger tuning | 4: Two problems at once
Title | web-target: HTTP service down | Zabbix server: monitoring agent not available | web-target: repeated HTTP service down alerts (flapping) and trigger tuning | Concurrent alerts: web-target HTTP down and Zabbix agent unavailable
Detected | 1:47 PM, Zabbix alert 'web-target: HTTP service down' | 2:08 PM (first seen 2:08:26 PM), alert 'Linux: Zabbix agent is not available (for 3m)' | 2:52:21 PM, first of three alerts | 3:42:05 PM (web-target, High); 3:44:26 PM (agent, Average)
Severity / impact | High. Test web service unavailable (lab); no real users affected. | Average. Monitoring was blind on the Zabbix server host. No monitored service was actually down. | High per alert. Intermittent unavailability of the test web service (lab). | High: web-target HTTP service unavailable (real outage). Average: monitoring lost contact with the agent (monitoring gap).
Affected service | web-target (nginx container), HTTP on port 80 | zabbix-agent container (agent for the Zabbix server host) | web-target (nginx container), HTTP on port 80 | web-target and zabbix-agent containers
Summary | Zabbix detected the HTTP check failing and raised a High problem. | Zabbix stopped receiving data from the agent and raised an alert after about 3 minutes. | Three High alerts fired in about 7 minutes (2:52 to 2:59 PM): about 5m 17s of downtime and about 1m 38s of uptime between alerts. | Both containers were stopped at 3:41:00 PM. The alerts arrived at different times because their triggers have different detection delays (about 1 minute vs about 3 minutes).
Actions taken | Restarted web-target with 'docker compose start web-target'. [Add what you checked first, e.g. Latest data, docker compose ps.] | Restarted the agent with 'docker compose start zabbix-agent'. [Add the checks you did, e.g. confirmed the web server and database were healthy.] | Tuned the trigger in two passes (see Tuning History): lengthened the no-data window from 1 to 3 minutes, then replaced last()=0 with a check that 4 consecutive checks failed. [Add anything else you did.] | Worked web-target first (real outage, higher severity), then the agent. Restarted web-target (recovered 3:50:46 PM), then the agent (recovered 3:52:26 PM). [Add any checks you made first.]
Escalation | None needed (lab). [In production: who you would notify, and when.] | None needed (lab). [In production: who you would notify, e.g. the monitoring team.] | None needed (lab). In production, propose the tuning change to the monitoring owner. | None needed (lab). In production: log both, notify the service owner or on-call for the High outage, and tell the monitoring owner if the agent does not recover quickly.
Resolution | Problem resolved at 1:49 PM (about 2 minutes, times to the minute). | Problem resolved at 2:12 PM (about 4 minutes after the alert). | Final trigger: two 30-second stops produced no alerts; a 2-minute stop alerted at 3:33 PM and cleared when restarted at about 3:34 PM. | Both problems resolved: web-target 3:50:46 PM, agent 3:52:26 PM.
Root cause | The container was stopped on purpose as a test. | The agent container was stopped on purpose as a test. [Add the exact stop time, about 3 minutes before the alert.] | Containers were stopped and started repeatedly on purpose. The original trigger fired on a single failed check or 1 minute of no data and cleared as soon as data returned, so each brief outage opened a new alert. | Both containers were stopped on purpose as a test.
Related alerts? | n/a | n/a | n/a | Independent in this lab, since they were stopped separately. In production, check for a shared cause (same host or network) before assuming.
Lessons / follow-up | A healthy baseline (both checks at 1) makes an incident easy to recognize. | Tell a real outage from a monitoring gap. The gap is that monitoring lost contact; the 3-minute delay is why the alert came late. | Tradeoff: fewer pages for short blips, but up to about a minute more detection delay and outages under about a minute are no longer reported. Consider recovery conditions that require several good checks. | Alerts have detection delays, and a quiet screen is not proof that everything is healthy. Alerts can arrive in a different order than the problems occurred.

## Tuning History
Tuning History - trigger 'web-target: HTTP service down' (INC-003)
Version | Trigger expression | What changed | Test | Result
v1 (original) | last(/web-target/net.tcp.service[http,,80])=0 or nodata(/web-target/net.tcp.service[http,,80],1m)=1 | Starting point. | Repeated stop and start of web-target. | Three separate High alerts in about 7 minutes (2:52 to 2:59 PM): flapping.
v2 | last(/web-target/net.tcp.service[http,,80])=0 or nodata(/web-target/net.tcp.service[http,,80],3m)=1 | Lengthened the no-data window from 1 minute to 3 minutes. | One 3-minute stop, then two stops of about 30 seconds. | Long outage alerted after about 3 minutes (as intended). The 30-second stops still alerted (27 s and 29 s problems) because last()=0 fires on a single failed check.
v3 (final) | max(/web-target/net.tcp.service[http,,80],#4)=0 or nodata(/web-target/net.tcp.service[http,,80],3m)=1 | Replaced last()=0 with max() over the last 4 checks, so all 4 must fail (about a minute at 15-second checks). | Two stops of about 30 seconds (3:29 to 3:31 PM), then a 2-minute stop. | 30-second stops: no alerts. 2-minute stop: alert at 3:33 PM; restarted about 3:34 PM.
Note: min() over the last 4 values is 0 if ANY value is 0, so it would still alert on one failure. max() is 0 only if ALL 4 values are 0, which is what makes the trigger require 4 failures in a row.

## Shift Handoff
Shift Handoff Note (example)
Section | Entry
Date, shift, author | 10/26/2026, afternoon, [your name]
Open incidents | None. INC-001 to INC-004 all resolved.
Things to watch | web-target trigger was tuned (requires 4 failed checks or 3 minutes of no data). Short blips under about a minute will no longer alert.
Planned changes | None.
Notes | Agent alert has a built-in 3-minute delay, so allow for it when judging monitoring gaps.